## Slide 1
Martina Saggiorato, ENEREN SRL
Ground Source Heat Pump (GSHP) with low global warming Potential (GWP) connected to DHC
Solution Overview Workshop

## Slide 2: Ground Source Heat Pump (GSHP) with low global warming Potential (GWP) connected to DHC
Challenge addressed:
Satisfying heating and cooling needs by limiting the visual/aesthetic impact compared to A/W
High-Temperature solution with suitable for retrofit applications
Usage of environmentally friendly refrigerant (GWP) to meet the more restrictive phase down of high GWP refrigerants
Development of smart cities to satisfy air conditioning needs with renewable resources
Demo Site:
- TRENTO

## Slide 3: Ground Source Heat Pump (GSHP) with low global warming Potential (GWP) connected to DHC
Solution description:
300 kW
Water/water
R1234ze GWP<1 (IPCC AR5)
High Efficiency A+++
Double Pass Shell & tube (high efficiency heat exchanger)
High power density 108 kW/m2
Targeted KPIs:
- Low consumption, savings on bills, low emissions, easy retrofit, low noise emission
TRL: 6 -> 8

## Slide 4: Ground Source Heat Pump (GSHP) with low global warming Potential (GWP) connected to DHC
Potential limitations or challenges:
Installation spaces for heat pump + adequate storage tanks?
Easy to access/install geothermal source?
Excessive initial costs?

## Slide 5: Thank you!
Martina Saggiorato
ENEREN SRL
martina.saggiorato@eneren.it